COMMONWEALTH OF PENNSYLVANIA

DEPARTMENT OF HUMAN SERVICES

INFORMATION TECHNOLOGY PROCEDURE

| Name Of Procedure: | Number: |
| --- | --- |
| Network Assessment & Redesign | PRO-EPPM002 |
| Domain: | Category: |
| Business | Work Plan Standard |
| Date Issued: | Issued By: |
| 12/12/2002 | DHS Bureau of Information Systems |
| Date Revised: |  |
| 03/09/2016 |  |

General:

This checklist provides an IT Survey of a sites’ existing network configuration for possible upgrades and performance improvements.

The purpose of the document is to track the appropriate Procedure for Network Assessment and Redesign.

Procedure:

The following is a procedure to request an IT Survey of a sites’ existing network configuration for possible upgrades and performance improvements.

- Designated IT coordinator/EDP coordinator will contact BIS for assistance in beginning the process of evaluation and reporting current network equipment, configurations and locations.

- The IT Coordinator will complete the initial IT survey forms and provide the appropriate information to section 1 based on the current network configuration.

- The completed form (section 1) will be forwarded to BIS for review and the appropriate vendor will be contacted to schedule an on-site walk thru and interviews with the IT Coordinator and other key staff.

- The IT Coordinator will be present to assist the vendor in completing section 2 and section 3 of the IT Survey forms. The IT Coordinator should be prepared to give estimates of anticipated user growth and network growth.

- The vendor will complete the IT Survey forms and compile a formal report to the BIS Network Configuration Team.  This report is based on the final results of the IT Survey, interviews and recommendations from the vendor for reconfiguration of the site network.

- The formal report will meet the following outline as a written report.

I.  Executive Summary – short narrative including conclusions and recommendations

II. Overview of Work Completed

Survey assessment process description; include times, dates and contacts

Location Description – department, bureau, etc.

Building Description – for each building surveyed, assessed and included in the recommendations
Local staff interview summaries - findings and needs as identified

III. Survey Assessments Findings

General Observations
	Environmental Observations (include potential problems for design changes)
	Existing Infrastructure (by building and as configured to the network)

Existing Cabling (by building and as configured to the network)

Existing Electronics (by building and as configured to the network)

Training Issues

Summary of Findings

IV. Recommendations for Infrastructure Upgrades

General Recommendations
			Infrastructure Upgrade Recommendations Overview and Rational

Site Preparations Recommendations (by building and as configured)

Cabling Recommendations (by building and as configured to the network)

Electronics Recommendations (by building and as configured to the network)

Training Recommendations

Summary of the upgrade recommendations

V.  Recommended Implementation Strategies

Site/Cabling Implementation Strategy - includes a schematic diagram and

projected completion timetable

Electronics Implementation Strategy – includes a projected completion timetable

Workstation Implementation Strategy – include a projected completion timetable

Overall Location Upgrade Strategy – including a phased approach to allow for budget or staff support

limitations, includes a projected completion timetable for each phase and interdependencies

between phases

VI. Estimate of time and materials (listed)

Site Preparations – including all incidentals (be specific)

Cabling

Electronics

Other System Incidentals (be specific)

VII. Projected costs

Design

Materials

Labor

- The report will be reviewed and if approved, an FL will be generated.

- Sites are *strongly encouraged* to hire qualified professionals to install and terminate cable. It is *vitally important* to accurately document the installation, whether professional cable installers or departmental staff are utilized. Before any cabling is installed, one should obtain accurate copies of building blueprints and document the end points (room and IDF) and path of all horizontal Cat 5 and fiber optic cable runs. Each port on the patch panel should have the same unique label as the wall plate port in a room. Both ends of the patch cable should also have an identical, unique label. In addition, one should maintain a database that minimally maps the patch panel/wall plate port label to a room location and includes the corresponding label for the patch cable as well as a unique hub port number (usually specified through management software).

- Since the failure of any hub or switched components means that all devices attached to that hub or component will be unable to communicate, it is important to have a viable disaster recovery and maintenance plan in place, especially for server connections. One plan is to execute a hardware maintenance contract with the vendor who can supply a functioning hub component for the failed one. The contract should include software/firmware upgrades. The major downside to this type of plan is that there may be an unacceptable delay in delivering the replacement component in the event of an emergency.

An alternative plan is to maintain or have access to spare hub components on campus.

- DHS expects that the report will be used as the basis for a contract or statement of work for completion of the IT infrastructure upgrading as recommended. The actual work contracted for completion may require modification as deemed necessary by the Program Office, BIS and/or the site.

Refresh Schedule:

All procedures and referenced documentation identified in this document will be subject to review and possible revision annually or upon request by the DHS Information Technology Standards Team.

Procedure Revision Log:

| Change Date | Version | Change Description | Author and Organization |
| --- | --- | --- | --- |
| 12/13/2002 | 1.0 | Initial creation. | Momentum |
| 04/04/2003 | 1.0 | Comply with DPW Standards | DCSS – Process Section |
| 01/05/2007 | 1.0 | Reviewed content – No change necessary | PMO-DCSS |
| 08/08/2008 | 1.1 | Reviewed and edited style | PMO-Standards Coordinator |
| 04/30/2015 | 1.2 | Changed DPW to DHS | PMO-DEPPM |
| 03/09/2016 | 1.2 | Annual Review | PMO-DEPPM |