	[bookmark: _Hlk204065435]Type of Drilled Hole
	NB Required
Holes Per plans
	Holes drilled
	Percent %
	Holes completed
	Percent %

	Primary Holes
	143
	143
	100 %
	143
	100 %

	Secondary Holes
	83
	83
	100 %
	83
	100 %

	Tertiary Holes
	18
	18
	100 %
	18
	100 %

	Total Holes
	244
	244
	100 %
	244
	100 %

	

	Drilling Quantity
	10118   LF

	Grouting Quantity
	22636 CF




202 SB Drilling and Grouting Summary (Final)















